JONIK NDOVU FARM

Conceptual Site & Design Brief

VERSION 3.0  |  INVESTOR WORKING DRAFT  |  OCTOBER 2026

The image above is an AI-generated visual-direction crop only. It is not a surveyed plan and does not show verified boundaries, scale, setbacks, access, utilities, ecological constraints or buildable area.

# Design intent

Create a low-density, landscape-led destination that feels rooted in Laikipia while remaining operationally efficient. Use local climate and material research, passive cooling/shading, water-sensitive landscape design, robust maintenance choices and clear separation of guest, service and staff circulation.

# Functional zones to test

Arrival, reception and discreet parking/drop-off.

12–15 accommodation units arranged for privacy, views and service access.

Restaurant/lounge and outdoor dining linked to kitchen, stores and deliveries.

Farm/garden areas supporting guest experiences and realistic food production.

Shared experience spaces, wellness/quiet areas and trails where safe and permitted.

Staff facilities, stores, laundry, plant, waste and maintenance areas.

Water storage, wastewater treatment, fire access, backup power and other essential infrastructure.

Landscape buffers, drainage routes, conservation/setback areas and future expansion capacity.

# Required professional inputs

Registered surveyor: title boundaries, levels, access and constraints.

Architect and engineers: concept/site plan, code compliance and buildable area.

Quantity surveyor: elemental cost plan, inflation, preliminaries, exclusions and contingency.

Environmental specialist: screening and required assessment; biodiversity and water considerations.

Operator/market specialist: unit mix, service model, operational adjacencies and guest journey.

# Decision gates

Gate 1: title/access and acquisition economics are acceptable.

Gate 2: planning and environmental pathway is viable.

Gate 3: 12-unit base case fits the US$2.4m funding envelope with contingency and working capital.

Gate 4: 15-unit alternative and phased option compared on risk-adjusted cash flow.

Gate 5: design freeze and contractor procurement only after funding and approvals are sufficiently secure.